Lake St. Louis Community Association

Engineering & Facilities

Committee Meeting Minutes

August 4, 2025 at 7:00 PM

# Committee Members				Present             	Absent

Jerry Harris– Chairman (2027)                                	__X___              	 ______

Pat Alexander– Vice Chair (2025)  		            __X___             	 ______

Tom Bach (2027) - Secretary				__X___            	 ______

Jim Bruchas (2027)	 			           	__X___		 ______

John Earle (2027)  	     				__X___             	 ______

Scott Kappelmann (2025)			            ______		 __X___

Dave Kusmec (2026)			            	__X___		 ______

Todd Thomas (2027)					__X___            	 ______

Jim Pelger (2027)					__X___            	 ______

Robert Heer (2028)		           	             	__X___		 ______

#### Quorum Yes or No

LSLCA Representatives 
Kurt Lynn, Board Member			            __X___ 	             ______

Ron Skeen, Maintenance Supervisor                         	__X___            	 ______

Michelle Shelhamer, General Manager                      ______                         __X___

Jim Dodd, Board Member			            __X___ 	             ______

Aaron deBerge, Board Member		            __X___ 	             ______

Art Harmon, Board Member			            __X___ 	             ______

## AGENDA

- Roll Call – Quorum present

- Recognized Guests - Vonmarie Martinez and Pat Kinsella from Shannon and Wilson, Chuck Ruedebusch C&J Docks, Greg Barth

- Approval of Minutes - Approved

- Approval of Agenda _ Approved

- Staff Updates: General Manager/Ron Skeen

- Board Updates: Kurt Lynn

- Old Business

        - Peruque Creek Watershed Stream Team & Alliance Formation

Stream Team 6796 Input

Peruque Creek Monitoring - The Stream Team conducted                                                            monitoring surveys (Chemical, Discharge, & Visual) at 8 sites on July 13/14. The CA    funded Pace Laboratory processing of 3 samples from each site. Measurands were Total Suspended Solids (surrogate for sediment), E. coli, and Total Phosphorus. The Peruque Creek Monitoring Group sampled an additional 6 sites.

The Peruque Creek Watershed Assessment Planning Grant (CWA S604(b)) valued at $50K is still being processed by MoDNR. Acceptance (highly expected) or rejection is expected in August. The major products expected by this assessment is a need and effectiveness ranking of sediment loading site locations and highly effective best management practices that should be deployed there.

The Peruque Creek Watershed Demonstration Project, Phase 1 (CWA S319(h)), was formally submitted to MoDNR 1 August. August 1st was 13 months to day since MoDNR was hosted at Lake Saint Louis by the E/F Committee. If successful, we will be notified b/n 1-16 September. Noteworthy highlights include:

- The Contract would be placed b/n 1 June 29 and 1 October 2026 with a 3 year period of performance. Partners are City of Lake Saint Louis, City of Wentzville, and the CA. A memorandum of understanding documents each partners contributions

- Volunteer Water Quality Monitoring will be highly leveraged

- $34K requested for bathyscaphe sonar mapping of Dauphine Bay before and after dredging

- $40K requested for Flow Loggers to measure discharge at 3 locations including training for local operators

- LSLCA committed a total of $267K In-Kind funding in the form of dredging or dredging related activities in grant contract years 1 and 2.

- $280K is planned for Best Management Practice Demos in the watershed.

- Public Outreach will be extensive.

Peruque Creek Watershed Alliance is conducting bi-monthly general meetings. There are 10 regional entity members, and over 20 committed community individuals. Committees have been formed to handle grant administration & leadership, water quality monitoring, and public outreach.

The 9 Element Watershed Based Plan and the Total Suspended Solids Total Maximum Daily Load Study are still in review by the EPA.

A Peruque Creek Immersion Event is planned for Missouri's District 108 Representative Mike Costlow for Friday 8 August at the CA. The representative wants to better understand our issues, and how he can help. City of Lake Saint Louis, City of Wentzville, and CA representatives are participating.

- Dam seepage issue

Shannon & Wilson had the following comments:

1st involved in 2022 for a camera inspection. Plan was to abandon the old drainpipe. Shannon and Wilson assisted in getting the permits and developing the plan. The work was completed in July 2024.

Follow-up inspections still showed water coming out but at an accelerated rate. The permits are still open and DWR states that this must be resolved before permits are closed. If we do not show we are working to do so it is referred to the state AG. What we are doing is acceptable. We used dye packs for leak detection and dye showed up in the creek in 5 hours. Marion Hill dove on the dam but had no success in finding a leak.

S&W suggestions are to dye check the standpipe, see about a filter system suggested by Rob Heer, and possibly fill the standpipe. S&W will send a proposal for these options.

- Project updates

Donnie Point Seawall Design The proposed sheet piling appears to have more strength than the original pz22, however, what were really interested in thickness. Both proposed types use 0.375 in thick steel. The pz35/40 uses 0.5in+ steel. See attached. That extra gives sacrificial thickness against corrosion. Additionally, the sections they have quoted are proprietary sections. This will likely inflate pricing as they are not as readily available/manufactured as the pz22/40. I would advise getting another quote comparing the pz22 (or even the pzc18 that was already provided ) to a pz35 or pz 40. This would give us the comparison that we need.

With the coating, we would really only need to coat half of the sheet(the portion above the lake bottom) so $4/ft at 2500sft, we are looking at +10k for coating.

**Getting 2 additional Quotes on the seawall

- Dredging

Great concern on the increased silt levels in the

Donnie Point area. Points plotted show less than 2 feet in many areas. Lots of discussion on the dredging approach. One is to see if we can wait for the full dredge, the other is to see if we can do  partial dredge using either the Innsbrook dredge or similar. Questions on the Innsbrook dredge are investment costs, cost/hour to run and how many yards/hour. Also questions on where to put the silt, Could be a good option for dredging out the small coves. Will look to see if we can get it for a demo on our lake maybe in early October but will have to pay for their labor. Also, a discussion on buying a survey boat was presented by Greg Barth. It can run surveys to plot current depth and rate of fill, Costs are between $10k and $30K depending on options.

- New Business

  - Review Committee Charter

  - Review/create priority list of items committee is to handle

  - Master Plan assistance

- General Discussion / Comments

- Adjournment