Lake St. Louis Community Association

Engineering & Facilities

Committee Meeting Minutes

April 7, 2025 at 7:00 PM

# Committee Members				Present             	Absent

Jerry Harris– Chairman (2027)                                	__X___              	 ______

Pat Alexander– Vice Chair (2025)  		            __X___             	 ______

Tom Bach (2027) - Secretary				__X___            	 ______

Jim Bruchas (2027)	            			__X___		 ______

John Earle (2027)  	     				__X___             	 ______

Scott Kappelmann (2025)			            ______		 __X___

Dave Kusmec (2026)			            	__X____		 ______

Todd Thomas (2027)					__X___            	 ______

Jim Pelger (2027)					__X___            	 ______

Robert Heer (2028)					__X___		 ______

#### Quorum Yes or No

LSLCA Representatives 
Kurt Lynn, Board Member			            __X___ 	             ______

Ron Skeen, Maintenance Supervisor                         	______            	 __X___

Michelle Shelhamer, General Manager                      ______                         __X___

## AGENDA

- Roll Call _ Jerry Harris declared a quorum is present

- Recognized Guests - None

- Approval of Minutes - Approved

- Approval of Agenda - Approved

- Staff Updates:

- Club irrigation pump – complete

- Dam seepage issue - Seepage is still being investigated. The Board is waiting for additional quotes for ERT testing to determine where the leak might be. The cost from ERT is approximately $7k for a one-day test and $11k for a second day. The test involves stakes driven 6” into the ground every 50 feet for 200 feet. and the electrical resistance monitored. The committee was in favor of proceeding with the testing as the remediation cost is higher, so it favors doing the testing first. The decision to try dropping a 40-foot band of bentonite clay around the water side of the dam around the pipe was on hold. Ron had talked to a company in Texas for bulk supply of the bentonite and they also have another product called Soilfloc that might be better. Kurt Lynn and Jim Dobbs walked all the way up the outlet pipe to the concrete plug. The water infiltration appears to be extremely minor around the plug and is mostly at the first joint of the concrete pipe, with lesser amounts penetrating at joints preceding downstream.

- The wharf project is complete

- Donnie Point – The committee reviewed the drawings and had a discussion on the details. After a general discussion of the seawall design the committee would suggest developing a new master plan for Donnie Point including the maintenance area. Additionally, the E&F committee recommends to the Board the following motions:

    - Add the cost of using PZ35 sheet piling, this is approximately 1/8” thicker and will extend the life of the piling for minimal cost. It will also hold up better to the rough service life it will be subjected to.

    - Add timber bumpers (approximately 4”X4”) at the top of the piling to add protecting to the piling and the equipment. This can be incorporated by design or by staff.

    - We also recommend the Board adding an epoxy coating for extended durability.

- Pool fence is complete

- New skid steer – We now have all the attachments - complete

- Board Update: Kurt Lynn

- Old Business

  - Peruque Creek Watershed Stream Team & Alliance – Dave Kusmec                                                    Working hard at the first RFP in the next three weeks. Major success was achieved in getting the dredging costs recognized and matching funds in future efforts. agencies.

- New Business

- Review Committee Charter – Roundtable discussion was held on the charter and many ideas were floated. The main question came up as to what the committee was responsible to do. It came down to three items: 1) Lakes - water quality / dredging; 2) dams; and 3) facilities – bldgs., equipment, etc. The procedure for doing so was heavily discussed as to the interaction with the Board, other committees and the staff. The decision was made to hold a separate meeting separate from the regular meeting to go over. Jerry Harris will arrange the date and time. Members are encouraged to review the charter and make comments/improvements/clarifications/etc. for the meeting. The goal is to develop final draft for presentation to the BOD for approval.

- Priority list of committee items – No discussion on this as meeting was running late

- Master Planning Request – they need assistance in cost estimating. Jerry Harris, Pat Alexander, Tom Bach and several others volunteered.

- E&F webpage updates - updated

- General Discussion / Comments

- Adjournment